|  |
| --- |
| part 5  sewer reticulation design  november 2018 |

**Engineering Guidelines for**

**Subdivisions and Development Standards**

Table of contents

[1. INTRODUCTION 4](#_Toc528309966)

[2. REFERENCE DOCUMENTS 5](#_Toc528309967)

[3. GENERAL 6](#_Toc528309968)

[3.1 SCOPE (REFER WSA SECTION 1) 6](#_Toc528309969)

[4. FLOW ESTIMATION (REFER WSA02-3) 7](#_Toc528309970)

[4.1 DESIGN FLOW ESTIMATION METHOD (REFER WSA02-3.3) 7](#_Toc528309971)

[**4.1.1** Traditional Design Flow Estimation Method (Refer WSA02-3.3.2) 7](#_Toc528309972)

[5. DETAIL DESIGN 8](#_Toc528309973)

[5.1 DETAIL DESIGN CONSIDERATIONS (REFER WSA02-5.2) 8](#_Toc528309974)

[5.1.1 Catchment Design (Refer WSA02-5.2.1) 8](#_Toc528309975)

[**5.1.2** Design Accuracy (refer WSA02-5.2.2) 8](#_Toc528309976)

[**5.1.3** Easements (Refer WSA02-5.2.8) 8](#_Toc528309977)

[5.2 HORIZONTAL ALIGNMENT OF SEWERS (REFER WSA02-5.3) 8](#_Toc528309978)

[**5.2.1** All changes in direction using Maintenance Holes (Refer WSA02-5.3.6) 9](#_Toc528309979)

[**5.2.2** Horizontal Curves in Sewers (Refer WSA02-5.3.8) 9](#_Toc528309980)

[5.3 OBSTRUCTIONS AND CLEARANCES (REFER WSA02-5.4) 9](#_Toc528309981)

[5.4 PIPE SIZING AND GRADING (REFER WSA02-5.5) 9](#_Toc528309982)

[5.4.1 General (refer WSA02-5.5.1) 9](#_Toc528309983)

[**5.4.2** Minimum pipe sizes for maintenance purposes (Refer WSA02-5.5.4) 9](#_Toc528309984)

[**5.4.3** Minimum grades for sewers (Refer WSA02-5.5.7) 9](#_Toc528309985)

[**5.4.4** Minimum grades for self-cleansing (Refer WSA02-5.5.7) 10](#_Toc528309986)

[5.4.5 Minimum cover over sewers (Refer WSA02-5.6.3) 10](#_Toc528309987)

[5.4.6 Minimum Depth of Sewer Connection Point (Refer WSA02-5.6.5) 10](#_Toc528309988)

[5.4.7 Depth of Connection Point (refer WSA02-5.6.5.4) 10](#_Toc528309989)

[5.4.8 Vertical Curves in Sewers (refer WSA02-5.6.7) 10](#_Toc528309990)

[**5.4.9** Compound Curves (refer WSA02-5.6.8) 10](#_Toc528309991)

[6. PROPERTY CONNECTION (REFER WSA02-6) 11](#_Toc528309992)

[6.1 LIMITATION OF CONNECTION TO SEWERS (REFER WSA02-6.2) 11](#_Toc528309993)

[6.2 METHODS OF PROPERTY CONNECTION (REFER WSA02-6.3) 11](#_Toc528309994)

[6.3 LOCATION OF PROPERTY CONNECTION POINTS (REFER WSA02-6.5) 11](#_Toc528309995)

[6.4 PROPERTY CONNECTION SEWERS (REFER WSA02-6.6) 11](#_Toc528309996)

[7. MAINTENANCE STRUCTURES (REFER WSA02-7) 12](#_Toc528309997)

[7.1 TYPES OF MAINTENANCE STRUCTURES (REFER WSA02-7.1) 12](#_Toc528309998)

[7.2 SPACING OF MAINTENANCE STRUCTURES (REFER WSA02-7.3) 12](#_Toc528309999)

[7.3 MAINTENANCE HOLES (REFER WSA02-7.6) 12](#_Toc528310000)

[**7.3.1** Types of maintenance hole Construction (refer WSA02-7.6.2) 12](#_Toc528310001)

[**7.3.2** Ladders, Step irons and Landings. (REFER WSA02-7.6.9) 12](#_Toc528310002)

[7.4 MAINTENANCE SHAFTS (MS) / MAINTENANCE CHAMBERS (MCs). (REFER WSA02-7.7) 12](#_Toc528310003)

[8. ANCILLARY STRUCTURES (REFER WSA02-8) 13](#_Toc528310004)

[8.1 WATER SEALS, BOUNDARY TRAPS, WATER SEALED MAINTENANCE HOLE’S AND GAS CHECKS (REFER WSA02-8.2) 13](#_Toc528310005)

[8.2 INVERTED SYPHONS (REFER WSA02-8.6) 13](#_Toc528310006)

[9. STRUCTURAL DESIGN (REFER WSA02-9) 14](#_Toc528310007)

[9.1 PRODUCTS AND MATERIALS (REFER WSA02-9.2) 14](#_Toc528310008)

[1. PUMP STATIONS 14](#_Toc528310009)

[10. pump stations 15](#_Toc528310010)

[11. PRESSURE SEWER 16](#_Toc528310011)

[12. STANDARD DRAWINGS 17](#_Toc528310012)

[APPENDIX A sewer capacity grading table 18](#_Toc528310013)

**TABLES**

[Table 1: Values of Colebrook White roughness 10](#_Toc528310014)

[Table 2: Property Sewers 10](#_Toc528310015)

[Table 3: Methods of Property Connection 11](#_Toc528310016)

[Table 4: Approved materials for use 14](#_Toc528310017)

# INTRODUCTION

This Part of Council’s ‘Engineering Guidelines for Subdivisions and Developments’ is related to sewerage reticulation.

The design and construction of sewerage reticulation shall generally be in accordance with the latest version of the Water Services Association of Australia (WSAA) ‘Sewerage Code of Australia (WSA02**)’.** References to WSA codes are to the WSA code which was current at time of publication of this guideline if the WSA standard is updated refer to the equivalent clause

**However this part of Council’s ‘Engineering Guidelines’ takes precedence over the WSAA Standards.** (i.e. these are Council’s requirements which may be different to WSA02).

The other Parts of the Engineering Guidelines for Subdivisions and Development are as follows:

Part 1 General Requirement

Part 2 Design of Roads

Part 3 Stormwater Drainage Design

Part 4 Water Reticulation Design

**Part 5 Sewerage Reticulation Design**

Part 6 Landscaping, and Measures for Erosion, Sedimentation and Pollution Control

Part 7 Testing

This part of the ‘Engineering Guidelines’ is set out in the same order as WSA02 for ease of cross-referencing.

# REFERENCE DOCUMENTS

The format of the guidelines has been simplified by making reference to both National and State Standards where applicable. Where these standards vary from the referenced standards the variations are highlighted and cross-referenced. The current version of the referenced standard will apply. The references below were current at time of publication of this standard. If any of the references are updated refer to the equivalent clause in the updated versions. These guidelines shall take preference over the referenced standards. In addition to the criteria outlined in this manual, any relevant acts, regulations and Australian Standards will apply.

In New South Wales, RMS referenced standards will apply:

* Conveyancing Act 1919 No 6
* Gravity Sewerage Code of Australia WSA02 – 2014 Version 3.1
* Sewerage Pumping Code of Australia WSA04 – 2005 Version 2.1
* WSA 07-2007 Pressure Sewerage Code of Australia Version 1.1

**Abbreviations**

|  |  |
| --- | --- |
| MGA | Map Grid of Australia |
| PWWF | Peak Wet Weather Flow |
| SPS | Sewage Pumping Stations |
| W.A.E. | Works as Executed |
| WSAA | Water Services Association of Australia |

# GENERAL

## SCOPE (REFER WSA SECTION 1)

Council (as the Water Authority) will not provide a ‘Concept Plan’ for the localised sewer network. This is the responsibility of the ‘Designer’ and particularly so if the proposed development is going to be staged (i.e. developed in stages). Refer to Clause 1.2.7.1 of WSA02.

If such a staged development is proposed the ‘Designer’ shall provide an indicative overall concept plan of the development at the time of submitting the first stage to Council for approval. This concept plan shall not be binding with respect to the proposed layout/staging; however, the final number of tenements cannot differ by more than 20% between the original concept plan and the ultimate constructed development.

All development in bush fire prone areas is to comply with the RFS NSW planning for bushfire protection.

# FLOW ESTIMATION (REFER WSA02-3)

## DESIGN FLOW ESTIMATION METHOD (REFER WSA02-3.3)

Flow estimation assumptions shall be given in the concept plan.

### Traditional Design Flow Estimation Method (Refer WSA02-3.3.2)

The method for determination the design flow shall be in accordance with the methodology specified by WSA02-3.3.2 with the following amendment:

The contribution to EP should be taken as 3.1 per single occupancy lot i.e. a single residence or dwelling.

# DETAIL DESIGN

## DETAIL DESIGN CONSIDERATIONS (REFER WSA02-5.2)

### Catchment Design (Refer WSA02-5.2.1)

Where future development has the potential to occur beyond the estate, estate sewer reticulation is to be consistent with a catchment master plan. In the absence of a master plan prepared by Council a master plan must be prepared by the developer to an extent necessary to determine sewerage component sizing and location within the estate so that orderly development can occur.

Estate sewerage reticulation shall be extended through the estate to service future upstream catchments. Sewer extension to service the upstream catchment shall be subject to Council approval at the cost of Council. Easements shall be created as part of an approved estate master plan to enable sewer construction that is not dependent and restricted by estate staging and lot release. Construction may be either directed by Council or alternatively constructed by the Council or its representatives.

### Design Accuracy (refer WSA02-5.2.2)

Location in plan shall be referenced to MGA (Map Grid of Australia) coordinates.

### Easements (Refer WSA02-5.2.8)

Sewers located in property other than owned by Council are to have an easement in favour of Council. The Developer is responsible for obtaining this easement; the release of the Deposited Subdivision Plan is subject to the creation of this easement. The Developer is to transfer to Council sewer easements provided in the subdivision and execute a transfer and grant of easement in favour of Council pursuant to Section 88b of the Conveyancing Act 1919 No 6, as amended. The minimum width of sewer easement should be 3.0 m.

Development that requires the submission of a development application to Council for approval will require the provision of an easement over existing sewer infrastructure.

Where Community or Shared Title occurs, Council’s sewer responsibility ends at the property connection point (typically where the property vertical is located as visible on site outside of easement/Maintenance Holes inside the boundary line of the property). There will be one connection to service the combined community lots. Council may require an easement to be created over part or the entire infrastructure.

## HORIZONTAL ALIGNMENT OF SEWERS (REFER WSA02-5.3)

Road Crossings are perpendicular to the road centreline unless otherwise approved.

### All changes in direction using Maintenance Holes (Refer WSA02-5.3.6)

An internal maintenance hole through drop between inlet pipe and outlet pipe is required as follows:

|  |  |
| --- | --- |
| **Deflection Angle** | **Drop (mm)** |
| 0o to 45o | 30 |
| 46o to 90o | 50 |
| 91o to 120o | 100 |

Deflections between 91° to 120° are by approval only. Deflections greater than 120° through Maintenance Holes are not permitted.

### Horizontal Curves in Sewers (Refer WSA02-5.3.8)

No curves in sewers will be accepted.

## OBSTRUCTIONS AND CLEARANCES (REFER WSA02-5.4)

Sewer mains located within lots adjacent to stormwater drainage lines shall be a minimum of 750mm clear of the stormwater pipe.

Buildings shall not be constructed over the top of sewer mains. Where this is unavoidable subject to approval of Council, buildings may be constructed over sewer reticulation mains provided they are constructed so that no load from the structure is transmitted to the sewer main and the portion of the main under the building (and for a distance outside of the building shall be 2m minimum) is laid in cement lined, sulphate resistant, or ductile iron pipe equivalent to Class PN 35. This concession is made primarily for buildings in established areas and will not be extended to new subdivisions unless special circumstances prevail.

## PIPE SIZING AND GRADING (REFER WSA02-5.5)

### General (refer WSA02-5.5.1)

Sewers shall be designed for PWWF (Peak Wet Weather Flow) capacity. The maximum and minimum allowable loadings for various pipe diameters are as shown in Appendix A – Sewer Capacity Grading Table.

### Minimum pipe sizes for maintenance purposes (Refer WSA02-5.5.4)

The minimum sewer main diameter is 150mm.

### Minimum grades for sewers (Refer WSA02-5.5.7)

At the ends of lines the minimum grade is 1 in 80.

### Minimum grades for self-cleansing (Refer WSA02-5.5.7)

The maximum grade of reticulation sewer is limited to 1 in 10.

The minimum grades are shown in a table attached in Appendix A.

The values of Colebrook White roughness to be used in the design of gravity sewers are:

Table : Values of Colebrook White roughness

|  |  |  |
| --- | --- | --- |
| Normal Pipe Size (mm) | Full Flow - for estimation of Peak Hydraulic Capacity | Partial Flow - for estimation of Self-Cleansing Flows |
| 150-300 | k = 0.6 mm | k = 1.5 normal  k = 3.0 for control lines |
| 375-600 | k = 0.6 mm | k = 3.0 mm |
| Above 600 | k = 1.5 mm | k = 6.0 mm |

**Note:** Control Lines are those lines that affect the overall depth of the system. The minimum grade for property sewers is 1 in 60.

### Minimum cover over sewers (Refer WSA02-5.6.3)

In accordance with WSA.

### Minimum Depth of Sewer Connection Point (Refer WSA02-5.6.5)

The depth of the junction is to be such that any location within the lot can be drained to it via a pipe with a minimum 300 mm of cover laid at a grade of 1 in 60. The pipe is to be located parallel to boundaries and account for raft slab construction.

### Depth of Connection Point (refer WSA02-5.6.5.4)

Table : Property Sewers

|  |  |
| --- | --- |
| Maximum depth to invert | 1.5 m, WAE to include GPS locations mark with tape and marker post. |
| Termination of sewers that provide for  future connection | Mark with tape and marker post |

### Vertical Curves in Sewers (refer WSA02-5.6.7)

Not accepted.

### Compound Curves (refer WSA02-5.6.8)

Not accepted.

# PROPERTY CONNECTION (REFER WSA02-6)

## LIMITATION OF CONNECTION TO SEWERS (REFER WSA02-6.2)

Written approval is required from Council for connection to the existing Council sewerage system. All work is to be carried out by Council approved contractors at the developers’ expense. Seven days prior notice is required. All materials are to be supplied by the Developer.

All work conducted on live sewers is to be in accordance with the relevant Workplace Health and Safety Regulations, and Confined Spaces Regulations.

## METHODS OF PROPERTY CONNECTION (REFER WSA02-6.3)

Table : Methods of Property Connection

|  |  |
| --- | --- |
| WSA 6.3.3 Buried interface method (type A) | Approved |
| WSA 6.3.2 IO interface method | Not approved |
| Reference (Council Standard Drawings) | SD 700, SD 701, SD702 |

## LOCATION OF PROPERTY CONNECTION POINTS (REFER WSA02-6.5)

Where an unsewered dwelling is located on land that is being developed, the Developer shall connect the dwelling to the sewerage reticulation at his cost as part of the subdivision work. The Developer shall be responsible for the removal of any septic tanks and backfilling of the excavation to the satisfaction of Council. All new sewer mains and Maintenance Holes must be tested prior to the dwelling being connected.

## PROPERTY CONNECTION SEWERS (REFER WSA02-6.6)

Not accepted.

# MAINTENANCE STRUCTURES (REFER WSA02-7)

## TYPES OF MAINTENANCE STRUCTURES (REFER WSA02-7.1)

|  |  |  |
| --- | --- | --- |
| a) | Maintenance Holes | Accepted. |
| b) | Maintenance Shafts | subject to council approval on a case by case basis |
| c) | Termination Maintenance Shafts | subject to council approval on a case by case basis |

## SPACING OF MAINTENANCE STRUCTURES (REFER WSA02-7.3)

The maximum spacing of Maintenance Holes is 80m.

## MAINTENANCE HOLES (REFER WSA02-7.6)

All maintenance structures shall be Maintenance Holes unless otherwise approved by Council.

Maintenance Holes are required at all dead ends exceeding 30 m in length. Sewer mains (referred to as junction and lead) that exceed 10m in length are sidelines that require a Maintenance Hole with a 150mm connection where they enter the main at the downstream end. Maintenance Holes are not to be located in road carriageways without specific approval of Council.

Where the development is utilising existing sewer mains or junctions, the mains, Maintenance Holes or junctions must be upgraded to meet the current guideline requirements.

### Types of maintenance hole Construction (refer WSA02-7.6.2)

Cast insitu or precast units are to be as approved by Council. Tapers (cones) are permitted on Maintenance Holes.

Maintenance hole is to be constructed as fully cast insitu or fully precast assemblies.

### Ladders, Step irons and Landings. (REFER WSA02-7.6.9)

Not required.

## MAINTENANCE SHAFTS (MS) / MAINTENANCE CHAMBERS (MCs). (REFER WSA02-7.7)

Maintenance shafts not accepted, terminal maintenance shafts accepted.

# ANCILLARY STRUCTURES (REFER WSA02-8)

## WATER SEALS, BOUNDARY TRAPS, WATER SEALED MAINTENANCE HOLE’S AND GAS CHECKS (REFER WSA02-8.2)

Not required.

## INVERTED SYPHONS (REFER WSA02-8.6)

Not accepted.

# STRUCTURAL DESIGN (REFER WSA02-9)

## PRODUCTS AND MATERIALS (REFER WSA02-9.2)

Reticulation Pipes and Fittings must be in accordance with the manufacturers and relevant Standards. The following materials are approved for use:

Table : Approved materials for use

|  |
| --- |
| Gravity sewer reticulation pipelines may be constructed from PVC non pressure pipe and fittings (AS 1260) minimum class SN8. |
| Ductile Iron, PN35, lining type to be confirmed with Council. NOTE: Portland cement concrete lining is not acceptable. |
| DIOD PVC. |

Other materials may be considered however these materials will require approval on a case-by- case basis.

All pipes should be rubber ring jointed.

# PUMP STATIONS

# pump stations

Refer to WSA04-2005 Sewage Pumping Station Code of Australia Version 2.1

Prior to undertaking any work on the design of pump stations meet and discuss with Council’s Engineer to determine an agreed approach.

# PRESSURE SEWER

Pressure sewer will be allowed by exception only.

No pressure sewer shall be designed without Council approval. If a pressure sewer system is to be allowed, comply with WSA 07-2007 Pressure Sewerage Code of Australia Version 1.1.

# STANDARD DRAWINGS

Council Standard Drawings take precedence over WSA.

|  |  |  |
| --- | --- | --- |
| No. | Description | Drawing No. |
| 1 | External Main Connection Property – Vertical Drop > 1500 | SD 700 |
| 2 | External Main Connection Property – Vertical Drop up to 1500 | SD 701 |
| 3 | Internal Main Connection Property – Vertical Drop > 1500 | SD 702 |

APPENDIX A  
  
sewer capacity grading table

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Pipe size 150 Tenements | | | Pipe size 225 Tenements | | | Pipe size 300 Tenements | | | Pipe size 375 Tenements | | | Pipe size 450 Tenements | | | Pipe size 525 Tenements | | | Pipe size 600 Tenements | | |  |
| Grade | Min K (in mm) | | Max | Min K (in mm) | | Max | Min K (in mm) | | Max | Min K (in mm) | | Max | Min K (in mm) | | Max | Min K (in mm) | | Max | Min K (in mm) | | Max | Grade |
|  | 1.5 | 3.0 | 0.6 | 1.5 | 3.0 | 0.6 | 1.5 | 3.0 | 0.6 | 3.0 |  | 0.6 | 3.0 |  | 0.6 | 3.0 |  | 0.6 | 3.0 |  | 0.6 |  |
| 80 | 1 | 1 | 221 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 80 |
| 90 | 3 | 2 | 208 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 90 |
| 100 | 6 | 4 | 196 | 11 | 8 | 609 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 100 |
| 110 | 9 | 7 | 186 | 15 | 11 | 580 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 110 |
| 120 | 13 | 10 | 178 | 20 | 15 | 553 | 28 | 22 | 1225 |  |  |  |  |  |  |  |  |  |  |  |  | 120 |
| 130 | 18 | 14 | 170 | 25 | 20 | 530 | 33 | 27 | 1175 |  |  |  |  |  |  |  |  |  |  |  |  | 130 |
| 140 | 23 | 18 | 164 | 31 | 25 | 510 | 38 | 32 | 1129 | 39 |  | 2081 |  |  |  |  |  |  |  |  |  | 140 |
| 150 | 30 | 24 | 158 | 36 | 30 | 492 | 43 | 36 | 1089 | 44 |  | 2007 |  |  |  |  |  |  |  |  |  | 150 |
| 160 | 35 | 30 | 152 | 14 | 35 | 475 | 49 | 41 | 1053 | 49 |  | 1941 | 58 |  | 3188 |  |  |  |  |  |  | 160 |
| 180 | 48 | 41 | 143 | 52 | 45 | 446 | 61 | 52 | 989 | 61 |  | 1825 | 71 |  | 300 |  |  |  |  |  |  | 180 |
| 200 | 65 | 56 | 135 | 66 | 57 | 422 | 76 | 65 | 936 | 75 |  | 1727 | 86 |  | 2839 | 98 |  | 4313 |  |  |  | 200 |
| 220 |  |  |  | 83 | 71 | 401 | 92 | 79 | 890 | 90 |  | 1642 | 103 |  | 2703 | 116 |  | 4104 |  |  |  | 220 |
| 250 |  |  |  | 113 | 97 | 374 | 120 | 105 | 832 | 117 |  | 1536 | 131 |  | 2527 | 146 |  | 3840 | 163 |  | 5511 | 250 |
| 300 | 204 | 176 | 119 | 186 | 161 | 339 | 184 | 159 | 755 | 172 |  | 1395 | 188 |  | 2296 | 207 |  | 3492 | 227 |  | 5013 | 300 |
| 350 |  |  |  | 324 | 283 | 312 | 269 | 234 | 695 | 242 |  | 1287 | 259 |  | 2118 | 281 |  | 3222 | 305 |  | 4627 | 350 |
| 400 |  |  |  |  |  |  | 389 | 340 | 648 | 332 |  | 1199 | 347 |  | 1975 | 370 |  | 3006 | 396 |  | 4316 | 400 |
| 450 |  |  |  |  |  |  | 577 | 507 | 608 | 448 |  | 1120 | 454 |  | 1855 | 475 |  | 2826 | 504 |  | 1060 | 450 |
| 500 |  |  |  |  |  |  | 1175 | 1039 | 575 | 602 |  | 1066 | 585 |  | 1757 | 600 |  | 2674 | 628 |  | 3843 | 500 |
| 550 |  |  |  |  |  |  |  |  |  | 809 |  | 1013 | 747 |  | 1670 | 748 |  | 2544 | 773 |  | 3656 | 550 |
| 600 |  |  |  |  |  |  |  |  |  | 1191 |  | 967 | 953 |  | 1596 | 926 |  | 2430 | 940 |  | 3494 | 600 |
| 650 |  |  |  |  |  |  |  |  |  |  |  |  | 1126 |  | 1531 | 1138 |  | 2331 | 1134 |  | 3351 | 650 |
| 700 |  |  |  |  |  |  |  |  |  |  |  |  | 1630 |  | 1471 | 1400 |  | 2242 | 1362 |  | 3222 | 700 |
| 750 |  |  |  |  |  |  |  |  |  |  |  |  | 2829 |  | 1420 | 1732 |  | 2162 | 1628 |  | 3109 | 750 |
| 800 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 2185 |  | 2089 | 1948 |  | 3006 | 800 |
| 850 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 2925 |  | 2024 | 2341 |  | 2926 | 850 |
| 900 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 2850 |  | 2825 | 900 |
| 1000 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 5668 |  | 2673 | 1000 |